## Cost
Year (1 or 2) ▼ | Cost Element / Activity | Cost (€) | In-Kind (€) | % of Year Cost | % of Total Budget | Quotation
1 | CZT custom multicanale | 30000 | 0 | 35.29% | 20.41% | WIP
1 | Digitizer | 22000 | 0 | 25.88% | 14.97% | SI
1 | Cristalli Ge (880) | 20000 | 0 | 23.53% | 13.61% | WIP
1 | Target e Campioni | 2000 | 0 | 2.353% | 1.361% | NO
1 | Slits | 0 | 2000 | 0% | 0% | NR
1 | Supporto campione + CZT | 3000 | 0 | 3.529% | 2.041% | NR
1 | Assi, motori e movimentazioni | 8000 | 3000 | 9.412% | 5.442% | WIP
2 | X-ray tube | 40000 | 0 | 64.52% | 27.21% | SI
2 | Tube power supply | 10000 | 0 | 16.13% | 6.803% | NO
2 | Chiller o sistema di raffreddamento | 5000 | 0 | 8.065% | 3.401% | NO
2 | Travels | 3000 | 0 | 4.839% | 2.041% | NR
2 | Consumabili e lavorazioni | 4000 | 0 | 6.452% | 2.721% | NR
Two-Year Budget Summary
Period | Summary | Cost (€) | In-Kind (€) | % of Year Cost | % of Total Budget
Year 1 | Total cost | 85000 | 5000 | 100% | 57.82%
Year 2 | Total cost | 62000 | 0 | 100% | 42.18%
Two Years | Total budget | 147000 | 5000 |  | 100%
Year validation | OK: Year is 1 or 2
Note on A1: Allowed values: 1 or 2 only.
Note on D2: Automatically set to €0 when a cost item is entered.
Note on D3: Automatically set to €0 when a cost item is entered.
Note on D4: Automatically set to €0 when a cost item is entered.
Note on D5: Automatically set to €0 when a cost item is entered.
Note on D9: Automatically set to €0 when a cost item is entered.
Note on D10: Automatically set to €0 when a cost item is entered.
Note on D14: Automatically set to €0 when a cost item is entered.
Note on D15: Automatically set to €0 when a cost item is entered.
Note on D16: Automatically set to €0 when a cost item is entered.
Note on D17: Automatically set to €0 when a cost item is entered.
Note on D18: Automatically set to €0 when a cost item is entered.
Note on D19: Automatically set to €0 when a cost item is entered.
Note on D20: Automatically set to €0 when a cost item is entered.
Note on D21: Automatically set to €0 when a cost item is entered.
Note on D22: Automatically set to €0 when a cost item is entered.
Note on D23: Automatically set to €0 when a cost item is entered.
Note on D24: Automatically set to €0 when a cost item is entered.
Note on D25: Automatically set to €0 when a cost item is entered.
Note on D26: Automatically set to €0 when a cost item is entered.
Note on D27: Automatically set to €0 when a cost item is entered.
Note on D28: Automatically set to €0 when a cost item is entered.
Note on D29: Automatically set to €0 when a cost item is entered.
Note on D30: Automatically set to €0 when a cost item is entered.
Note on D31: Automatically set to €0 when a cost item is entered.
Note on D32: Automatically set to €0 when a cost item is entered.
Note on D33: Automatically set to €0 when a cost item is entered.
Note on D34: Automatically set to €0 when a cost item is entered.
Note on D35: Automatically set to €0 when a cost item is entered.
Note on D36: Automatically set to €0 when a cost item is entered.
Note on D37: Automatically set to €0 when a cost item is entered.
Note on D38: Automatically set to €0 when a cost item is entered.
Note on D39: Automatically set to €0 when a cost item is entered.
Note on D40: Automatically set to €0 when a cost item is entered.
Note on D41: Automatically set to €0 when a cost item is entered.
Note on D42: Automatically set to €0 when a cost item is entered.
Note on D43: Automatically set to €0 when a cost item is entered.
Note on D44: Automatically set to €0 when a cost item is entered.
Note on D45: Automatically set to €0 when a cost item is entered.
Note on D46: Automatically set to €0 when a cost item is entered.
Note on D47: Automatically set to €0 when a cost item is entered.
Note on D48: Automatically set to €0 when a cost item is entered.
Note on D49: Automatically set to €0 when a cost item is entered.
Note on D50: Automatically set to €0 when a cost item is entered.
Note on D51: Automatically set to €0 when a cost item is entered.
Note on D52: Automatically set to €0 when a cost item is entered.
Note on D53: Automatically set to €0 when a cost item is entered.
Note on D54: Automatically set to €0 when a cost item is entered.
Note on D55: Automatically set to €0 when a cost item is entered.
Note on D56: Automatically set to €0 when a cost item is entered.
Note on D57: Automatically set to €0 when a cost item is entered.
Note on D58: Automatically set to €0 when a cost item is entered.
Note on D59: Automatically set to €0 when a cost item is entered.
Note on D60: Automatically set to €0 when a cost item is entered.
Note on D61: Automatically set to €0 when a cost item is entered.
Note on D62: Automatically set to €0 when a cost item is entered.
Note on D63: Automatically set to €0 when a cost item is entered.
Note on D64: Automatically set to €0 when a cost item is entered.
Note on D65: Automatically set to €0 when a cost item is entered.
Note on D66: Automatically set to €0 when a cost item is entered.
Note on D67: Automatically set to €0 when a cost item is entered.
Note on D68: Automatically set to €0 when a cost item is entered.
Note on D69: Automatically set to €0 when a cost item is entered.
Note on D70: Automatically set to €0 when a cost item is entered.
Note on D71: Automatically set to €0 when a cost item is entered.
Note on D72: Automatically set to €0 when a cost item is entered.
Note on D73: Automatically set to €0 when a cost item is entered.
Note on D74: Automatically set to €0 when a cost item is entered.
Note on D75: Automatically set to €0 when a cost item is entered.
Note on D76: Automatically set to €0 when a cost item is entered.
Note on D77: Automatically set to €0 when a cost item is entered.
Note on D78: Automatically set to €0 when a cost item is entered.
Note on D79: Automatically set to €0 when a cost item is entered.
Note on D80: Automatically set to €0 when a cost item is entered.
Note on D81: Automatically set to €0 when a cost item is entered.
Note on D82: Automatically set to €0 when a cost item is entered.
Note on D83: Automatically set to €0 when a cost item is entered.
Note on D84: Automatically set to €0 when a cost item is entered.
Note on D85: Automatically set to €0 when a cost item is entered.
Note on D86: Automatically set to €0 when a cost item is entered.
Note on D87: Automatically set to €0 when a cost item is entered.
Note on D88: Automatically set to €0 when a cost item is entered.
Note on D89: Automatically set to €0 when a cost item is entered.
Note on D90: Automatically set to €0 when a cost item is entered.
Note on D91: Automatically set to €0 when a cost item is entered.
Note on D92: Automatically set to €0 when a cost item is entered.
Note on D93: Automatically set to €0 when a cost item is entered.
Note on D94: Automatically set to €0 when a cost item is entered.
Note on D95: Automatically set to €0 when a cost item is entered.
Note on D96: Automatically set to €0 when a cost item is entered.
Note on D97: Automatically set to €0 when a cost item is entered.
Note on D98: Automatically set to €0 when a cost item is entered.
Note on D99: Automatically set to €0 when a cost item is entered.
Note on D100: Automatically set to €0 when a cost item is entered.
Note on D101: Automatically set to €0 when a cost item is entered.
Note on D102: Automatically set to €0 when a cost item is entered.
Note on D103: Automatically set to €0 when a cost item is entered.
Note on D104: Automatically set to €0 when a cost item is entered.
Note on D105: Automatically set to €0 when a cost item is entered.
Note on D106: Automatically set to €0 when a cost item is entered.

## 2_Cost
Cost category | Item / description | Purpose / related WP | 2027 (€) | 2028 (€) | Total (€) | Quotation
Equipment | Multichannel CZT detector | Multichannel fluorescence detection and spectral acquisition – WP2 | 30000 | 0 | 30000 | Required – detailed quotation attached
Equipment | Digitizer | Multichannel signal digitization and synchronized data acquisition – WP2 | 20000 | 0 | 20000 | Required – detailed quotation attached
Equipment | Bent crystal optics | Ge/Si bent crystals for selected absorption edges above 20 keV – WP1/WP2 | 15000 | 15000 | 30000 | Required – detailed quotation attached
Consumables | Reference samples and targets | Ag, Mo, Rh and Cd standards for calibration and validation – WP3/WP4 | 0 | 2000 | 2000 | Supplier estimate
Equipment | Precision slits | Beam definition, collimation and background control – WP2/WP3 | 0 | 2000 | 2000 | Supplier estimate
Services | Custom sample and CZT supports | Custom mechanical holders for sample positioning and detector alignment – WP2 | 0 | 3000 | 3000 | Required – detailed quotation attached
Equipment | Motorized translation stages | Automated linear positioning of optics, samples and detector – WP2/WP3 | 0 | 5000 | 5000 | Required – detailed quotation attached
Equipment | Motorized rotation stages | Angular alignment of bent crystals and sample geometry – WP2/WP3 | 0 | 3000 | 3000 | Required – detailed quotation attached
Equipment | X-ray tube | Laboratory excitation source for fluorescence-XAS measurements – WP2/WP3 | 0 | 7000 | 7000 | Required – detailed quotation attached
Equipment | X-ray tube power supply | Dedicated high-voltage/current supply for the X-ray tube – WP2 | 0 | 10000 | 10000 | Required – detailed quotation attached
Equipment | Closed-loop cooling system | Thermal stabilization and cooling of the X-ray tube assembly – WP2/WP3 | 0 | 5000 | 5000 | Required – detailed quotation attached
Consumables / services | Consumables and precision machining | Prototyping, cabling, shielding and minor mechanical adaptations – WP2/WP3 | 0 | 4000 | 4000 | Required – detailed quotation attached
Travel | Experimental activity at collaborating facilities | Setup tests and comparative measurements supporting validation – WP3/WP4 | 0 | 2000 | 2000 | Internal estimate
Travel | Project and collaboration meetings | Technical coordination and integration meetings – WP1–WP4 | 0 | 1500 | 1500 | Internal estimate
Travel | EXRS 2028 conference (oral presentation only) | Dissemination of final results, conditional on accepted oral presentation – WP4 | 0 | 3000 | 3000 | Internal estimate
Total requested |  |  | 65000 | 62500 | 127500
Note on E10: Assumption: preliminary budget based on supplier prices already entered in the workbook, including VAT.

## 3_Cost
Year | Category | Item | Purpose/WP | Cost [€]
2027 | Equipment | CZT Detector and Front-End | Fluorescence Detection - WP2 | 30000
2027 | Equipment | Digitizer and DAQ | Signal Acquisition - WP2 | 20000
2027 | Equipment | Motorized Stages and Controllers | Automated Positioning - WP3 | 10000
2027 | Consumables | Ag Reference Targets | Calibration Tests - WP2/WP4 | 2000
2027 | Services | Custom Mechanical Supports | Instrument Integration - WP3 | 2000
2027 | Computing | DataCloud CPU and Storage | End-to-End Simulations - WP1 | 2000
Total 2027 |  |  |  | 66000
2028 | Equipment | Cooled X-ray Tube | Excitation Source - WP3 | 10000
2028 | Equipment | X-ray Tube Power Supply | Source Operation - WP3 | 10000
2028 | Travel | Oral Conference Travel | Results Dissemination - WP4 | 4000
2028 | Equipment | Bent Crystal Optics | Energy Selection - WP3 | 20000
2028 | Consumables | Additional Reference Targets | Multi-Edge Validation - WP4 | 2000
Total 2028 |  |  |  | 46000
Total |  |  |  | 112000

## X-ray Tubes
Producer | Max Voltage [kV] | Max Current [mA] | Max Power [W] | Spot Size [mm] | Anode | Price | Price+VAT
Micro-Xray | 60 | 3 | 75 | 0.15 | W | 5841.41 | 7126.5202
Rontgen | 65 | 5 | 100 |  | W | 4861 | 5930.42